NORTHBRIDGE CENTER GYM FACILITY

WEST PALM BEACH, FL

Addendum Number 1

Issued 03/05/12

This Addendum shall supplement, amend and become a part of the Contract Documents (Specifications and Drawings).  All bids and construction contracts shall be based upon the modifications or items of clarification contained herein.  Acknowledge receipt of this Addendum on the form of proposal.  Failure to do so may subject bidder to disqualification.

ITEM 1:	QUESTION: 	Budget number for tile

CLARIFICATION: See revised finish Specifications on A-1.1 for spec on CT-1- GC to provided allowance on CT-2

ITEM 2:	QUESTION:	Budget number for rubber flooring

CLARIFICATION: See revised finish Specifications on A-1.1 for spec on RUB-1

ITEM 3:	QUESTION:  Budget number for carpet

CLARIFICATION: GC to provide $35 material and installation

ITEM 4:	QUESTION:  Sheet A-2.1 Elevation #7 – Please specify materials to use to build window frame next to pair of door – hollow metal or aluminum frames

CLARIFICATION: See revised A-2.1 elevation 7

ITEM 5:	QUESTION:  Wood doors call to be satin – Please confirm of Factory prefinished or not

CLARIFICATION: wood doors to be stained with factory finish, tenant to select. See revised A-1.0

ITEM 6:	QUESTION:  Wood doors – provide wood type

CLARIFICATION: doors to be cherry

ITEM 7:	QUESTION:  Provide detail of wall behind receptionist desk

CLARIFICATION: see revised A-2.1

ITEM 8:	QUESTION:  What is wood species for paneling

CLARIFICATION: See revised A-2.1

ITEM 9:	QUESTION:  Is paneling installed directly to drywall

CLARIFICATION: this is a standalone millwork piece

ITEM 10:	QUESTION:  How is the glass shelves installed in the recess

CLARIFICATION: See revised A-2.1

ITEM 11:	QUESTION:  Is the base recessed from the face of the paneling

CLARIFICATION: Base to be flush with ½” reveal

ITEM 12:	QUESTION:  What is the trim at the top of the paneling

CLARIFICATION: a flush piece of paneling with ½” reveal

ITEM 13:	QUESTION:  Specs for the lockers

CLARIFICATION: See revised A-1.0

ITEM 14:	QUESTION:  Fire alarm detail

CLARIFICATION: See attached FA 1.1

ITEM 15:	QUESTION:  Sheet A-2.1, section 5 calls for under mount sinks

CLARIFICATION: See revised A-2.0

ITEM 16:	QUESTION:  The vault is being removed – new drawings have new foot note

CLARIFICATION: See revised D-1.0

ITEM 17:	QUESTION:  Mirrors need to be installed on the walls of the arobic room (the back wall)

CLARIFICATION: See revised A-1.0

ITEM 18:	QUESTION:  Mirrors need to be installed in the free weight area. (back wall and wall shared with aerobic room

CLARIFICATION: See revised A-1.0

ITEM 19:	QUESTION:  Sun shades need to be added as an alternate – black

CLARIFICATION: See revised A-1.1

ITEM 20:	QUESTION:  Built-in behind the receptionist desk

CLARIFICATION:See revised A-2.1

ITEM 21:	QUESTION:  Specs for toilet partition

CLARIFICATION: See revised A-1.0

ITEM 22:	QUESTION:   Note 5 on Demo plan calls to remove the concrete cover at the entry. We believe that this structure is structurally integral to the building. Secondly, there are several shut off valves above this structure at the deck and it is believed that building maintenance utilizes this platform to access these valves. Please confirm that this structure to be removed

CLARIFICATION: See Revised D-1.0

ITEM 23:	QUESTION:   The drawings state that the existing mechanical room walls are a 1-hr rated wall.  These walls do not extend to the deck above. Please advise.

CLARIFICATION: See revised mechanical and architectural

ITEM 24:	QUESTION:   Electrical Demo Note 1 of sheet D-1.0 state that we are to stockpile (80) 2x2 light fixtures for re-use.  We believe that this note may be in error.

CLARIFICATION: See revised D-1.0

ITEM 25:	QUESTION:  The exhaust duct for the dryer shows it exiting the building through an exterior corridor.  This corridor has a stucco ceiling and surface mounted lights, leading us to believe that there will not be enough room for the exhaust duct itself.  Please advise.   If there is enough room, are we to provide an allowance for stucco repair and painting of this ceiling?

CLARIFICATION: Provide allowance to repair stucco and paint

ITEM 26:		CLARIFICATION: See revised D-1.0- walls around the existing mechanical closet do not require to be one-hour, see also revised Mechanical

ITEM 27:		CLARIFICATION: see revised LS-1 and A-1.0 for FE locations

ITEM 28:		CLARIFICATION: see revised A-1.0, reflected ceiling legend pendant mounting heights

ITEM 29:		CLARIFICATION: see revised plumbing and electrical sheets for Core drilling note.

ITEM 30:		CLARIFICATION: See revised detail 4 on A-3.0

END OF ADDENDUM

/tmp/in/input.doc