## Sheet1
Unit Data | AHU-1 | Unit Data | AHU-2
Make | Ruud | Make | Rheem
Model | UBHA21J11SFCAI | Model | RBHPZ1J11SH2
Serial# | TM050004970 | Serial# | N121200875
Drive | Direct | Drive | Direct
H.P. | ⅓ | H.P. | ⅓
FLA | 2.8 | FLA | 2.6
Evaporator Data |  | Evaporator Data
Outside Air CFM | 105 | Outside Air CFM | 103
Outside Air DB/WB | 82.8/71.1 | Outside Air DB/WB | 82.8/71.1
Entering Air DB/WB | 74.0/63.9 | Entering Air DB/WB | 74.0/63.9
Leaving Air DB/WB | 67.4/67.7 | Leaving Air DB/WB | 56.4/56.9
Unit Data | AHU-3
Make | Trane
Model | TAM7A0C36H31SB
Serial# | 1212E16YA144
Drive | Direct
H.P. | ½
FLA | 3
Evaporator Data
Outside Air CFM | 118
Outside Air DB/WB | 82.8/71.1
Entering Air DB/WB | 74.0/63.9
Leaving Air DB/WB | 57.0/57.4